## Slide 1: Pilot Biometrics ECG Waveform Captures
Team sdmay18-12
https://sdmay18-12.sd.ece.iastate.edu/
Ryan Gallus (CprE)
Zach Glanz (CprE)
Justin Bader (CprE)
Andrew Jones (SE)
Kory Gray (CprE)
David Kirpes (EE)
Client: Rockwell Collins
Adviser: Akhilesh Tyagi

## Slide 2: Problem Statement
Develop a device that will capture, monitor, and analyze the ECG waveform of a military pilot in flight, to be used during training operations.
Use four high-fidelity ECG sensors to collect an accurate waveform, then filter out background noise and interference.
Analyze the waveform data to detect if the pilot is in distress
Store an encrypted copy of the data and package a copy for real-time transmission to the ground through a component in the cockpit.
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 3: Conceptual Sketch
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 4: Functional Requirements
Accurately detect a pilot in distress
  Capture ECG waveform of pilot in operation
  Accurately identify distress based on waveform
4-5 hours of continuous operation
  Consistent and reliable power supply
Notify ground station
  Communicate danger to pilot without increasing distress
  Communicate with ground teams
Store 4-5 hours of operational data
Operate in real time on an ARM microcontroller
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 5: Non-functional Requirements
Don’t interfere with pilot’s primary tasks
  Flight operations
  Emergency ejection
Don’t interfere with pilot’s safety harness
Don’t interfere with pilot’s normal communications
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 6: Technical/Other Constraints/Considerations
Filter accuracy and real-time performance - is a software filter too slow?
How is our system going to be powered?
Where are we going to store all of our data?
How do we go about testing our design and simulating flying an aircraft?
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 7: Market Survey
Our product is designed to be used in U.S. Navy fighter pilot training programs for monitoring pilot health.
Our product will be unique in its use of ECG sensors in a highly turbulent environment. Any other market potential it has would likely be in monitoring the health of people in such a turbulent environment.
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 8: Potential Risks & Mitigation
Device dying mid flight
  Connect device to plane electrical system
  Calculate pull of device and get battery size needed
Getting inaccurate ECG reading
  Multileveled software filter for background noise and muscle movement
  Extensive testing
Pilot information insecure
  Encrypt data
Harness Interfering with piloting
  Cockpit design
  Common pilot movements
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 9: Resource/Cost Estimate
Hardware
  ARM M7 Microcontroller
  Analog to Digital Converter
  ECG Sensors
  Electrical misc.
Software
  Micro C Linux
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 10: Project Milestones & Schedule
Semester 1
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 11: Project Milestones & Schedule
Semester 2
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 12: Functional Decomposition
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 13: Detailed Design - Flow Diagram
4 major processes
  Asynchronous
1 DB
Two Filters
  1 HW
  1 SW
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 14: Detailed Design 2 - Database Tables
3 Tables
  1 Unfiltered Data points
  1 Filtered Data points
  1 Detected Anomalies
UnfilteredPlot
  Contains 4 Sensors plots
FilteredPlot
  Contains data after SW filter and interpreted data.
DetectionTable
  Contains any anomalies detected for investigation later.
  Contains Start and End times of the anomaly in reference to FilteredPlot table
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 15: HW Platforms
ADS1298
  8-Channel, 24 bit ADC
  32,000 Samples per Second
STM34F746G discovery
  ARM M7 Microcontroller
Kendall 530 Series Electrode
Pilot Biometric - ECG Waveform Captures sdmay18-12
Electrode
ADS1298
STM34

## Slide 16: Platforms
Micro-c Linux
  Installed on Microcontroller
SQL
  Installed on micro-SD card that is attached to microcontroller
C/C++
  Used to enable class usage
  Easy process creation
  Easy concurrent program running
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 17: Test Plan 1
First Stage of Testing
  Check interfacing between all components
  Software Filters
  Input from Sensors
  Response time for Results
  Accuracy of Results
Testing
  Testing on all components must be done periodically
  To ensure that the product as a whole is still functional
  Goal is to have quick standard tests in order to verify each component after changes
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 18: Test Plan 2
Final Stage of Testing
  Will have opportunity to test product in real life scenario
  Operator Performance Laboratory (OPL)
  Gain feedback about comfortability
  Test impact of a High vibration environment
Goal
  With this test, we can understand how well our product can perform
  We may also see opportunities to fix or improve upon the product
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 19: Prototype Implementations 1
ECG sensor prototype
  All components together
  Should be able to use sensors to get raw data
  Process that raw data
  Test accuracy of that data
Breadboard
  Will first use breadboard to test hardware filter
  Allow use to test the hardware filter
  Once we are confident with prototype a PCB board can be designed
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 20: Prototype Implementations 2
Prototype for incorporation in harness
  Must fit comfortably
  Must hold sensors and product
  Must be safe and not in the way of pilot
  Prototype for harness will be made next semester
Prototype testing will provide much feedback
  Will be able to use the prototype on a real subject (one of the team members)
  Will be able to try to induce mild stress and use prototype to detect it
  Will be able to see product as whole
  Improve or fix any areas
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 21: Current Project Status
Individually tested hardware components
  ADC
  Microcontroller
Research and assessed previous literature
  Working with ECG waveforms
  Storage requirements
  Medical standards
Development started
  Algorithm
  Software filter
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 22: Task Responsibility/Contributions
Ryan Gallus – Team Lead
Zach Glanz – Driver Design Lead
Justin Bader – Filter Design Lead
Andrew Jones – Algorithm Design Lead
Kory Gray – Operating Systems Lead
David Kirpes – Circuit Design Lead
Pilot Biometric - ECG Waveform Captures sdmay18-12

## Slide 23: Plan for Next Semester
Finish Development
  Implement ECG sensors into ADC and board
  Finish writing main algorithm and software filter
Component Testing
  Evaluate ECG sensors
  Evaluate filter
  Evaluate main algorithm
Prototype Testing
  Induced stress test
  Operator Performance Lab
Pilot Biometric - ECG Waveform Captures sdmay18-12